SPECIAL CONDITIONS OF CONTRACT (SCC)

- Passive component OEM must be doing business in India for the offered items for more than 10 years. A declaration on letterhead must be submitted with documentary evidence.

- Passive component OEM should be a member of Telecommunications Industry Association (TIA) committee. Membership shall be available for verification at www.tiaonline.org/about/member-list

- Passive component OEM should have ISO certified manufacturing facility in India registered for min 10 years. Documentary evidence to be provided.

- All passive cabling components including fiber cable and accessories, copper cable and accessories should be from a single manufacturer.

- Passive component OEM should have RCDD certified technical manpower in India and local technical manpower in the region of project implementation.

- Passive component OEM should have ISO 9001 and ISO 14001 certified Design, development, and manufacture facilities in India for SW and HW solutions for communication networks.

- Passive component OEM should undertake that the support, including spares and patches for the quoted products, shall be available for two years.

- Passive component OEM must provide a 25-year Performance warranty.

- The bidder is encouraged to visit the site before bidding to understand the site conditions properly.

- The bidder must submit tender specific Manufacturer Authorization Form (MAF) for all the supply items. The MAF must mention that the warranty of the equipment will be supported by the OEM (Original Equipment Manufacturer).

- The bidder must submit a declaration from the OEM that the offered products are not End-of-sale or End-of-support.

- The bidder shall be ready to work at any location under the IIS department as directed by E-I-C.

- The bidder should make their own arrangements for storing and safe custody of his materials/equipment/hand tools.

- Shifting of materials from the IT store/storage site to the installation sites will be the responsibility of the bidder.

- The contractor shall be entirely responsible for managing and coordinating the functioning of the entire area.

- The contractor shall submit a materials status report as and when required and in the format, sought by EIC for MIS.

- The contractor should have sufficient experience handling similar work in routine and emergency conditions.

- The contractor must provide/execute services related to cable laying and termination under this contract in the NRL Refinery site, Township, and any other location(s), including other branch offices and sites of NRL, as directed by EIC as and when required. NRL currently has branch offices at the following locations:

  - Guwahati, Assam

  - Siliguri, West Bengal

  - Kolkata, West Bengal

  - Delhi

  - Paradip, Odisha

- Technical specifications for the jobs shall be as per SOR item description / applicable Indian standards / APWD / CPWD specifications.

- All the PPEs, like a mask, sanitizer, hand gloves, helmets, safety shoes, safety belts etc., required by workmen at the site need to be supplied by the contractor. Hence, quoted prices shall include all safety items to be provided.

- In addition to the above, extra precautions like barricading tapes etc., shall have to be used as and when directed by the EIC during various activities.

- The tools and tackles supplied by the contractor should be in good condition. The contractor shall furnish test certificates for all the equipment s/he desires to use for the execution of the job.

- The Contractor must maintain necessary site record registers (Hindrance Register/ labour deployment Register etc.) as directed by EIC. During Bandh and strike outside Township, the contractor will make advance planning and arrangements to provide uninterrupted services.

- Compliance of all statutory requirements about the engagement of contractual labour like labour licenses, Insurance (workmen compensation), ESI, PF (Provident Fund), Minimum wages etc., shall be sole responsibility of the contractor. The contractor shall furnish the required documents as and when asked for.

- A "First Aid" box with all necessary medicines shall be kept at the site by the contractor.

- The supervisor should report to IIS Official / Network Engineer every day as per instruction and shall strictly execute the job under his supervision in compliance with the entire technical specification and safety requirement. By the end of the day, they will report the daily job progress to IIS and shall seek further advice from the area Engineer/ In-Charge regarding mobilization required for the subsequent job requirement. No mobilization/demobilization shall be undertaken without prior consent. Supervisor / Skilled Worker In-Charge (SW-I-C) shall be conversant with the work permit system in addition to the required job-specific technical competence to execute the job.

- Following activities will be attributable for the completion of any work and, if applicable:

  - Measurement sheet duly certified by Network Engineer

  - Cleaning of the area.

  - Return of temporary facility/equipment mobilized for work, including safety apparatus etc.

- During the execution of work, the bidder must deploy minimum 01 (one) skilled personal (as site engineer) experienced in Passive IT Infrastructure projects at site with the following responsibilities:

  - Safety and security of deployed manpower at the site: to ensure all personnel wears PPE (Personnel Protective Equipment) and adheres to safety norms as explained in safety training.

  - Ensuring all job Safety norms at the work site.

  - Ensuring availability of necessary work-permits/clearances and gate-passes at the site before resuming work

  - Ensuring availability of consumables at the site

  - Breaking-down jobs to individual manpower

  - Movement of material from storage area to work site and vice-versa.

- The bidder must deploy a highly skilled workforce for the critical jobs as per the following or as directed by EIC on a case-to-case basis:

  - For FO cable laying and termination, deployed manpower should have at least five years of experience in similar works.

  - For UTP cable laying and termination, deployed manpower should have at least four years of experience in similar works.

- All consumables used, like C-clips with nails, zip ties etc., should be UV-resistant, corrosion-resistant and weather resistant.

- If any damage is caused to existing property (fixed or movable) during the execution of the job, the same must be rectified by the contractor at his own cost.

- Other terms and conditions:

  - Defects arising due to any reason attributable to the contractor during the inspection shall be attended/rectified by the party without any extra charges.

  - If any consumable / SOR items supplied by the contractor are found of duplicate make and substandard quality, measurement is found fabricated/manipulated the same shall be summarily rejected.

  - The party should strictly enforce discipline on the workers. All should be provided with safety shoes, hand gloves etc., given by the contractor in consultation with E.I.C.

  - Wage payment of the workers cannot be linked with the payment of the RA bill by NRL. The contractor / his supervisor shall ensure that wages to employees are paid by the 5th of every subsequent month and, in no case, shall be delayed beyond the 7th of every month. In case of failure to do so and on the complaint of a bonafide worker, NRL reserves the right to disburse the minimum wage amount among the employees with a notice to the contractor.

  - Job should not be subcontracted to another party.

  - Technical specifications for the jobs shall be as per SOR item description / applicable Indian standards / APWD / CPWD/BIS specifications.

  - Rates quoted by the contractor shall be deemed to have included the cost of all mobilization & demobilization.

  - In addition to the above, extra precautions like barricading tapes etc., shall have to be used as and when directed by the EIC during various activities.

  - Contractor must maintain necessary site record registers (Hindrance Register/ labour deployment Register etc.) as directed by the EIC.

  - The contractor is responsible for the safe custody of the materials until and unless the job is handed over to IIS.

- Note: The SCC clauses supersedes all condition put forward by contract any time. Conditions not covered above shall be governed by GCC of NRL.